## Application 1- ЕО
Application 1
Sheet 1 for Electrical Equipment Department
№ | Cable type | Voltage | Cross section of the cord | Reaction to fire class CPR - EN50575 | Is it manufactured with Bca or Cca insulation, (Yes or No) | Minimum production/order quantity | Manufacturer's Declaration of Performance, Dop (Yes or No) | Delivery time for 100m cable | Price for 100 m, EUR | Manufacturer
1 | N2XH | 0,6/1kV | 4х1,5mm2 | Bca or Cca
2 | N2XH | 0,6/1kV | 4х2,5mm2 | Bca or Cca
3 | N2XH | 0,6/1kV | 4х4mm2 | Bca or Cca
4 | N2XH | 0,6/1kV | 4х6mm2 | Bca or Cca
5 | N2XH | 0,6/1kV | 4х10mm2 | Bca or Cca
6 | N2XH | 0,6/1kV | 4х16mm2 | Bca or Cca
7 | N2XH | 0,6/1kV | 4х25mm2 | Bca or Cca
8 | N2XH | 0,6/1kV | 4х35mm2 | Bca or Cca
9 | N2XH | 0,6/1kV | 4х50mm2 | Bca or Cca
10 | N2XH | 0,6/1kV | 4х70mm2 | Bca or Cca
11 | N2XH | 0,6/1kV | 4х95mm2 | Bca or Cca
12 | N2XH | 0,6/1kV | 4х120mm2 | Bca or Cca
13 | N2XH | 0,6/1kV | 4х150mm2 | Bca or Cca
14 | N2XH | 0,6/1kV | 4х185mm2 | Bca or Cca
15 | NYY | 0,6/1kV | 4х1,5mm2 | Bca or Cca
16 | NYY | 0,6/1kV | 4х2,5mm2 | Bca or Cca
17 | NYY | 0,6/1kV | 4х4mm2 | Bca or Cca
18 | NYY | 0,6/1kV | 4х6mm2 | Bca or Cca
19 | NYY | 0,6/1kV | 4х10mm2 | Bca or Cca
20 | NYY | 0,6/1kV | 4х16mm2 | Bca or Cca
21 | NYY | 0,6/1kV | 4х25mm2 | Bca or Cca
22 | NYY | 0,6/1kV | 4х35mm2 | Bca or Cca
23 | NYY | 0,6/1kV | 4х50mm2 | Bca or Cca
24 | NYY | 0,6/1kV | 4х70mm2 | Bca or Cca
25 | NYY | 0,6/1kV | 4х95mm2 | Bca or Cca
26 | NYY | 0,6/1kV | 4х120mm2 | Bca or Cca
27 | NYY | 0,6/1kV | 4х150mm2 | Bca or Cca
28 | NYY | 0,6/1kV | 4х185mm2 | Bca or Cca
29 | NYY-FR | 0,6/1kV | 4х1,5mm2 | Bca or Cca
30 | NYY-FR | 0,6/1kV | 4х2,5mm2 | Bca or Cca
31 | NYY-FR | 0,6/1kV | 4х4mm2 | Bca or Cca
32 | NYY-FR | 0,6/1kV | 4х6mm2 | Bca or Cca
33 | NYY-FR | 0,6/1kV | 4х10mm2 | Bca or Cca
34 | NYY-FR | 0,6/1kV | 4х16mm2 | Bca or Cca
35 | NYY-FR | 0,6/1kV | 4х25mm2 | Bca or Cca
36 | NYY-FR | 0,6/1kV | 4х35mm2 | Bca or Cca
37 | NYY-FR | 0,6/1kV | 4х50mm2 | Bca or Cca
38 | NYY-FR | 0,6/1kV | 4х70mm2 | Bca or Cca
39 | NYY-FR | 0,6/1kV | 4х95mm2 | Bca or Cca
40 | NYY-FR | 0,6/1kV | 4х120mm2 | Bca or Cca
41 | NYY-FR | 0,6/1kV | 4х150mm2 | Bca or Cca
42 | NYY-FR | 0,6/1kV | 4х185mm2 | Bca or Cca
43 | H07RN-F | 0,6/1kV | 4х1,5mm2 | Bca or Cca
44 | H07RN-F | 0,6/1kV | 4х2,5mm2 | Bca or Cca
45 | H07RN-F | 0,6/1kV | 4х4mm2 | Bca or Cca
46 | H07RN-F | 0,6/1kV | 4х6mm2 | Bca or Cca
47 | H07RN-F | 0,6/1kV | 4х10mm2 | Bca or Cca
48 | H07RN-F | 0,6/1kV | 4х16mm2 | Bca or Cca
49 | H07RN-F | 0,6/1kV | 4х25mm2 | Bca or Cca
50 | H07RN-F | 0,6/1kV | 4х35mm2 | Bca or Cca
51 | H07RN-F | 0,6/1kV | 4х50mm2 | Bca or Cca
52 | H07RN-F | 0,6/1kV | 4х70mm2 | Bca or Cca
53 | H07RN-F | 0,6/1kV | 4х95mm2 | Bca or Cca
54 | H07RN-F | 0,6/1kV | 4х120mm2 | Bca or Cca
55 | H07RN-F | 0,6/1kV | 4х150mm2 | Bca or Cca
56 | H07RN-F | 0,6/1kV | 4х185mm2 | Bca or Cca
57 | H07ZZ-F | 450/750V | 4х1,5mm2 | Bca or Cca
58 | H07ZZ-F | 450/750V | 4х2,5mm2 | Bca or Cca
59 | H07ZZ-F | 450/750V | 4х4mm2 | Bca or Cca
60 | H07ZZ-F | 450/750V | 4х6mm2 | Bca or Cca
61 | H07ZZ-F | 450/750V | 4х10mm2 | Bca or Cca
62 | H07ZZ-F | 450/750V | 4х16mm2 | Bca or Cca
63 | H07ZZ-F | 450/750V | 4х25mm2 | Bca or Cca
64 | H07ZZ-F | 450/750V | 4х35mm2 | Bca or Cca
65 | H07ZZ-F | 450/750V | 4х50mm2 | Bca or Cca
66 | H07ZZ-F | 450/750V | 4х70mm2 | Bca or Cca
67 | H07ZZ-F | 450/750V | 4х95mm2 | Bca or Cca
68 | H07ZZ-F | 450/750V | 4х120mm2 | Bca or Cca
69 | H07ZZ-F | 450/750V | 4х150mm2 | Bca or Cca
70 | H07ZZ-F | 450/750V | 4х185mm2 | Bca or Cca
71 | NSSHöu | 0,6/1kV | 4х1,5mm2 | Bca or Cca
72 | NSSHöu | 0,6/1kV | 4х2,5mm2 | Bca or Cca
73 | NSSHöu | 0,6/1kV | 4х4mm2 | Bca or Cca
74 | NSSHöu | 0,6/1kV | 4х6mm2 | Bca or Cca
75 | NSSHöu | 0,6/1kV | 4х10mm2 | Bca or Cca
76 | NSSHöu | 0,6/1kV | 4х16mm2 | Bca or Cca
77 | NSSHöu | 0,6/1kV | 4х25mm2 | Bca or Cca
78 | NSSHöu | 0,6/1kV | 4х35mm2 | Bca or Cca
79 | NSSHöu | 0,6/1kV | 4х50mm2 | Bca or Cca
80 | NSSHöu | 0,6/1kV | 4х70mm2 | Bca or Cca
81 | NSSHöu | 0,6/1kV | 4х95mm2 | Bca or Cca
82 | NSSHöu | 0,6/1kV | 4х120mm2 | Bca or Cca
83 | NSSHöu | 0,6/1kV | 4х150mm2 | Bca or Cca
84 | NSSHöu | 0,6/1kV | 4х185mm2 | Bca or Cca
85 | SiHF | 300/500V | 4х1,5mm2 | Bca or Cca
86 | SiHF | 300/500V | 4х2,5mm2 | Bca or Cca
87 | SiHF | 300/500V | 4х4mm2 | Bca or Cca
88 | SiHF | 300/500V | 4х6mm2 | Bca or Cca
89 | SiHF | 300/500V | 4х10mm2 | Bca or Cca
90 | SiHF | 300/500V | 4х16mm2 | Bca or Cca
91 | SiHF | 300/500V | 4х25mm2 | Bca or Cca
92 | SiHF | 300/500V | 4х35mm2 | Bca or Cca
93 | SiHF | 300/500V | 4х50mm2 | Bca or Cca
94 | SiHF | 300/500V | 4х70mm2 | Bca or Cca
95 | SiHF | 300/500V | 4х95mm2 | Bca or Cca
96 | SiF/GL | 300/500V | 1х10mm2 | Bca or Cca
97 | SiF/GL | 300/500V | 4х1,5mm2 | Bca or Cca
98 | SiF/GL | 300/500V | 4х2,5mm2 | Bca or Cca
99 | SiF/GL | 300/500V | 4х4mm2 | Bca or Cca
100 | SiF/GL | 300/500V | 4х6mm2 | Bca or Cca
101 | SiF/GL | 300/500V | 4х10mm2 | Bca or Cca
102 | SiF/GL | 300/500V | 4х16mm2 | Bca or Cca
103 | SiF/GL | 300/500V | 4х25mm2 | Bca or Cca
104 | SiF/GL | 300/500V | 4х35mm2 | Bca or Cca
105 | SiF/GL | 300/500V | 4х50mm2 | Bca or Cca
106 | NHXCH-FE | 0,6/1kV | 4х1,5mm2 | Bca or Cca
107 | NHXCH-FE | 0,6/1kV | 4х2,5mm2 | Bca or Cca
108 | NHXCH-FE | 0,6/1kV | 4х4mm2 | Bca or Cca
109 | NHXCH-FE | 0,6/1kV | 4х6mm2 | Bca or Cca
110 | NHXCH-FE | 0,6/1kV | 4х10mm2 | Bca or Cca
111 | NHXCH-FE | 0,6/1kV | 4х16mm2 | Bca or Cca
112 | NHXCH-FE | 0,6/1kV | 4х25mm2 | Bca or Cca
113 | NHXCH-FE | 0,6/1kV | 4х35mm2 | Bca or Cca
114 | NHXCH-FE | 0,6/1kV | 4х50mm2 | Bca or Cca
115 | NHXCH-FE | 0,6/1kV | 4х70mm2 | Bca or Cca
116 | NHXCH-FE | 0,6/1kV | 4х95mm2 | Bca or Cca
117 | NHXCH-FE | 0,6/1kV | 4х120mm2 | Bca or Cca
118 | NHXCH-FE | 0,6/1kV | 4х150mm2 | Bca or Cca
119 | NHXCH-FE | 0,6/1kV | 4х185mm2 | Bca or Cca
120 | H07V-K; yellow-green | 450/750 V | 1х1,5mm2 | Bca or Cca
121 | H07V-K; yellow-green | 450/750 V | 1х2,5mm2 | Bca or Cca
122 | H07V-K; yellow-green | 450/750 V | 1х4mm2 | Bca or Cca
123 | H07V-K; yellow-green | 450/750 V | 1х6mm2 | Bca or Cca
124 | H07V-K; yellow-green | 450/750 V | 1х10mm2 | Bca or Cca
125 | H07V-K; yellow-green | 450/750 V | 1х16mm2 | Bca or Cca
126 | H07V-K; yellow-green | 450/750 V | 1х25mm2 | Bca or Cca
127 | H07V-K; yellow-green | 450/750 V | 1х35mm2 | Bca or Cca
128 | H07V-K; yellow-green | 450/750 V | 1х50mm2 | Bca or Cca
129 | H07V-K; yellow-green | 450/750 V | 1х70mm2 | Bca or Cca
130 | H07V-K; yellow-green | 450/750 V | 1х95mm2 | Bca or Cca
131 | H05V-U | 300/500 V | 1х1,5mm2 | Bca or Cca
132 | H05V-U | 300/500 V | 1х2,5mm2 | Bca or Cca
133 | H05V-U | 300/500 V | 1х4mm2 | Bca or Cca
134 | H05V-U | 300/500 V | 1х6mm2 | Bca or Cca
135 | H05V-U | 300/500 V | 1х10mm2 | Bca or Cca
136 | H05V-K | 300/500 V | 1х1,5mm2 | Bca or Cca
137 | H05V-K | 300/500 V | 1х2,5mm2 | Bca or Cca
138 | H05V-K | 300/500 V | 1х4mm2 | Bca or Cca
139 | H05V-K | 300/500 V | 1х6mm2 | Bca or Cca
140 | H05V-K | 300/500 V | 1х10mm2 | Bca or Cca
141 | N2XSEY | 6/10kV | 3х150/25mm2 | Bca or Cca
142 | N2XSEY | 6/10kV | 3х185/25mm2 | Bca or Cca
143 | NYCWY | 0,6/1kV | 4х1,5mm2 | Bca or Cca
144 | NYCWY | 0,6/1kV | 4х2,5mm2 | Bca or Cca
145 | NYCWY | 0,6/1kV | 4х4mm2 | Bca or Cca
146 | NYCWY | 0,6/1kV | 4х6mm2 | Bca or Cca
147 | NYCWY | 0,6/1kV | 4х10mm2 | Bca or Cca
148 | NYCWY | 0,6/1kV | 4х16mm2 | Bca or Cca
149 | NYCWY | 0,6/1kV | 4х25mm2 | Bca or Cca
150 | NYCWY | 0,6/1kV | 4х35mm2 | Bca or Cca
151 | NYCWY | 0,6/1kV | 4х50mm2 | Bca or Cca
152 | NYCWY | 0,6/1kV | 4х70mm2 | Bca or Cca
153 | NYCWY | 0,6/1kV | 4х95mm2 | Bca or Cca
154 | NYCWY | 0,6/1kV | 4х120mm2 | Bca or Cca
155 | NYCWY | 0,6/1kV | 4х150mm2 | Bca or Cca
156 | NYCWY | 0,6/1kV | 4х185mm2 | Bca or Cca
157 | N2XY – O/J | 0,6/1kV | 4х1,5mm2 | Bca or Cca
158 | N2XY – O/J | 0,6/1kV | 4х2,5mm2 | Bca or Cca
159 | N2XY – O/J | 0,6/1kV | 4х4mm2 | Bca or Cca
160 | N2XY – O/J | 0,6/1kV | 4х6mm2 | Bca or Cca
161 | N2XY – O/J | 0,6/1kV | 4х10mm2 | Bca or Cca
162 | N2XY – O/J | 0,6/1kV | 4х16mm2 | Bca or Cca
163 | N2XY – O/J | 0,6/1kV | 4х25mm2 | Bca or Cca
164 | N2XY – O/J | 0,6/1kV | 4х35mm2 | Bca or Cca
165 | N2XY – O/J | 0,6/1kV | 4х50mm2 | Bca or Cca
166 | N2XY – O/J | 0,6/1kV | 4х70mm2 | Bca or Cca
167 | N2XY – O/J | 0,6/1kV | 4х95mm2 | Bca or Cca
168 | N2XY – O/J | 0,6/1kV | 4х120mm2 | Bca or Cca
169 | N2XY – O/J | 0,6/1kV | 4х150mm2 | Bca or Cca
170 | N2XY – O/J | 0,6/1kV | 4х185mm2 | Bca or Cca
171 | N2XCH | 0,6/1kV | 4х1,5mm2 | Bca or Cca
172 | N2XCH | 0,6/1kV | 4х2,5mm2 | Bca or Cca
173 | N2XCH | 0,6/1kV | 4х4mm2 | Bca or Cca
174 | N2XCH | 0,6/1kV | 4х6mm2 | Bca or Cca
175 | N2XCH | 0,6/1kV | 4х10mm2 | Bca or Cca
176 | N2XCH | 0,6/1kV | 4х16mm2 | Bca or Cca
177 | N2XCH | 0,6/1kV | 4х25mm2 | Bca or Cca
178 | N2XCH | 0,6/1kV | 4х35mm2 | Bca or Cca
179 | N2XCH | 0,6/1kV | 4х50mm2 | Bca or Cca
180 | N2XCH | 0,6/1kV | 4х70mm2 | Bca or Cca
181 | N2XCH | 0,6/1kV | 4х95mm2 | Bca or Cca
182 | N2XCH | 0,6/1kV | 4х120mm2 | Bca or Cca
183 | N2XCH | 0,6/1kV | 4х150mm2 | Bca or Cca
184 | N2XCH | 0,6/1kV | 4х185mm2 | Bca or Cca
185 | NTSCGEWÖU | 6/10kV | 3х150+3х70mm2 | Bca or Cca
186 | NTSCGEWÖU | 6/10kV | 3х120+3х70mm2 | Bca or Cca
187 | NTSCGEWÖU | 6/10kV | 3х95+3х50mm2 | Bca or Cca
188 | ÖLFLEX® HEAT 180 SiF/GL | 300/500V | 1х10mm2 | Bca or Cca
189 | HELUTHERM® 400 | 300/500V | 1х10mm2 | Bca or Cca
190 | HELUFLON®-FEP-6Y | 0,6/1kV | 1х10mm3 | Bca or Cca
191 | H07Z1-K; yellow-green | 450/750V | 1х1,5mm2 | Bca or Cca
192 | H07Z1-K; yellow-green | 450/750V | 1х2,5mm2 | Bca or Cca
193 | H07Z1-K; yellow-green | 450/750V | 1х4mm2 | Bca or Cca
194 | H07Z1-K; yellow-green | 450/750V | 1х6mm2 | Bca or Cca
195 | H07Z1-K; yellow-green | 450/750V | 1х10mm2 | Bca or Cca
196 | H07Z1-K; yellow-green | 450/750V | 1х16mm2 | Bca or Cca
197 | H07Z1-K; yellow-green | 450/750V | 1х25mm2 | Bca or Cca
198 | H07Z1-K; yellow-green | 450/750V | 1х35mm2 | Bca or Cca
199 | H07Z1-K; yellow-green | 450/750V | 1х50mm2 | Bca or Cca
200 | H07Z1-K; yellow-green | 450/750V | 1х70mm2 | Bca or Cca
201 | H07Z1-K; yellow-green | 450/750V | 1х95mm2 | Bca or Cca
202 | N2XSEH | 6/10kV | 3х150/25mm2 | Bca or Cca
203 | N2XSEH | 6/10kV | 3х185/25mm2 | Bca or Cca
204 | H05Z-K | 300/500V | 1х1,5mm2 | Bca or Cca
205 | H05Z-K | 300/500V | 1х2,5mm2 | Bca or Cca
206 | H05Z-K | 300/500V | 1х4mm2 | Bca or Cca
207 | H05Z-K | 300/500V | 1х6mm2 | Bca or Cca
208 | H05Z-K | 300/500V | 1х10mm2 | Bca or Cca
209 | NHXMH | 300/500V | 4х1,5mm2 | Bca or Cca
210 | NHXMH | 300/500V | 4х2,5mm2 | Bca or Cca
211 | NHXMH | 300/500V | 4х4mm2 | Bca or Cca
212 | NHXMH | 300/500V | 4х6mm2 | Bca or Cca
213 | NHXMH | 300/500V | 2х1,5mm2 | Bca or Cca
214 | NHXMH | 300/500V | 2х2,5mm2 | Bca or Cca
215 | NHXMH | 300/500V | 3х1,5mm2 | Bca or Cca
216 | NHXMH | 300/500V | 3х2,5mm2 | Bca or Cca
217 | NHXMH | 300/500V | 3х4mm2 | Bca or Cca
218 | H05VV-F | 300/500 V | 3 x 1,5mm2 | Bca or Cca
219 | H05VV-F | 300/500 V | 3 x 2,5mm2 | Bca or Cca
220 | H05VV-F | 300/500 V | 3 x 4mm2 | Bca or Cca
221 | H05VV-F | 300/500 V | 4 x 1,5mm2 | Bca or Cca
222 | H05VV-F | 300/500 V | 4 x 2,5mm2 | Bca or Cca
223 | H05VV-F | 300/500 V | 4 x 4mm2 | Bca or Cca
224 | H05VV-F | 300/500 V | 5 x 1,5mm2 | Bca or Cca
225 | H05VV-F | 300/500 V | 5 x 2,5mm2 | Bca or Cca
226 | H05VV-F | 300/500 V | 5 x 4mm2 | Bca or Cca
227 | H05RR -F | 300/500 V | 3 x 1,5mm2 | Bca or Cca
228 | H05RR -F | 300/500 V | 3 x 2,5mm2 | Bca or Cca
229 | H05RR -F | 300/500 V | 3 x 4mm2 | Bca or Cca
230 | H05RR -F | 300/500 V | 3 x 6mm2 | Bca or Cca
231 | H05RR -F | 300/500 V | 4 x 1,5mm2 | Bca or Cca
232 | H05RR -F | 300/500 V | 4 x 2,5mm2 | Bca or Cca
233 | H05RR -F | 300/500 V | 4 x 4mm2 | Bca or Cca
234 | H05RR -F | 300/500 V | 4 x 6mm2 | Bca or Cca
235 | H07Z-K | 450/750V | 1 x 1,5mm2 | Bca or Cca
236 | H07Z-K | 450/750V | 1 x 2,5mm2 | Bca or Cca
237 | H07Z-K | 450/750V | 1 x 4mm2 | Bca or Cca
238 | H07Z-K | 450/750V | 1 x 6mm2 | Bca or Cca
239 | H07Z-K | 450/750V | 1 x 10mm2 | Bca or Cca
240 | SiF | 300/500 V | 1 x 1,5mm2 | Bca or Cca
241 | SiF | 300/500 V | 1 x 2,5mm2 | Bca or Cca
242 | SiF | 300/500 V | 1 x 4mm2 | Bca or Cca
243 | SiF | 300/500 V | 1 x 6mm2 | Bca or Cca
244 | SiF | 300/500 V | 1 x 10mm2 | Bca or Cca
245 | SiF | 300/500 V | 1 x 16mm2 | Bca or Cca
246 | SiF | 300/500 V | 1 x 25mm2 | Bca or Cca
247 | SiF | 300/500 V | 1 x 35mm2 | Bca or Cca
248 | SiF | 300/500 V | 1 x 50mm2 | Bca or Cca

## Application 2 - СКУ
Application 2
Sheet 2 for I&C Systems Department
№ | Cable type | Cross section of the cord | Reaction to fire class CPR - EN50575 | Is it manufactured with Bca or Cca insulation, (Yes or No) | Minimum production/order quantity | Manufacturer's Declaration of Performance, Dop (Yes or No) | Delivery time for 100m cable | Price for 100 m, EUR | Manufacturer
1 | (N)YY-J fr/A | 3 х 2,5 мм² | Bca or Cca
2 | 1-C5XFE-R/LOCA | 10 х 2,5 мм² | Bca or Cca
3 | 1-C5XFE-R/LOCA | 14 х 2,5 мм² | Bca or Cca
4 | 1-C5XFE-R/LOCA | 16 х 2,5 мм² | Bca or Cca
5 | 1-C5XFE-R/LOCA | 5 х 1,5 мм² | Bca or Cca
6 | HELUTHERM Multi | 4 х 1 мм² | Bca or Cca
7 | HELUTHERM Multi | 7 х 0,75 мм² | Bca or Cca
8 | HSLCH-Jz | 10 х 0,75 мм² | Bca or Cca
9 | HSLCH-Jz | 12 х 0,75 мм² | Bca or Cca
10 | HSLCH-Jz | 14 х 0,75 мм² | Bca or Cca
11 | HSLCH-Jz | 16 х 0,75 мм² | Bca or Cca
12 | HSLCH-Jz | 18 х 0,75 мм² | Bca or Cca
13 | HSLCH-Jz | 20 х 0,75 мм² | Bca or Cca
14 | HSLCH-Jz | 24 х 0,75 мм² | Bca or Cca
15 | HSLCH-Jz | 25 х 0,75 мм² | Bca or Cca
16 | HSLCH-JZ CY 850 | 12 х 0,75 мм² | Bca or Cca
17 | HSLCH-JZ CY 850 | 18 х 0,75 мм² | Bca or Cca
18 | HSLCH-JZ CY 850 | 25 х 0,75 мм² | Bca or Cca
19 | J-Y /St/Y FR | 2 х 2 x 0,5 мм² | Bca or Cca
20 | LIHCH | 14х1,0 мм² | Bca or Cca
21 | LIHCH-OZ | 12 х 0,75 мм² | Bca or Cca
22 | LIHCH-OZ | 14 х 1,0 мм² | Bca or Cca
23 | LIHCH-OZ | 18 х 0,75 мм² | Bca or Cca
24 | LIHCH-OZ | 24 х 1,0 мм² | Bca or Cca
25 | LIHCH-OZ | 25 х 0,75 мм² | Bca or Cca
26 | LIHCH-OZ | 34 х 0,75 мм² | Bca or Cca
27 | LIYCY | 10 х 1,0 мм² | Bca or Cca
28 | LIYCY | 12 х 0,75 мм² | Bca or Cca
29 | LIYCY | 14 х 1,5 мм² | Bca or Cca
30 | LIYCY | 16 х 1,5 мм² | Bca or Cca
31 | LIYCY | 21 х 1,5 мм² | Bca or Cca
32 | LIYCY | 24 х 1,5 мм² | Bca or Cca
33 | LIYCY | 30 х 1,5 мм² | Bca or Cca
34 | LIYCY | 4 х 0,75 мм² | Bca or Cca
35 | LIYCY | 4 х 1,5 mm² | Bca or Cca
36 | LIYCY | 7 х 0,75 мм² | Bca or Cca
37 | LIYCY | 7 х 1,0 мм² | Bca or Cca
38 | LIYCY | 7 х 1,5 мм² | Bca or Cca
39 | LIYCY FR | 7 х 0,75 мм² | Bca or Cca
40 | MEGAFLEX500-C | 10 х 0,75 мм² | Bca or Cca
41 | MEGAFLEX500-C | 12 х 0,75 мм² | Bca or Cca
42 | MEGAFLEX500-C | 14 х 0,75 мм² | Bca or Cca
43 | MEGAFLEX500-C | 16 х 0,75 мм² | Bca or Cca
44 | MEGAFLEX500-C | 18 х 0,75 мм² | Bca or Cca
45 | MEGAFLEX500-C | 20 х 0,75 мм² | Bca or Cca
46 | MEGAFLEX500-C | 24 х 0,75 мм² | Bca or Cca
47 | MEGAFLEX500-C | 25 х 0,75 мм² | Bca or Cca
48 | MEGAFLEX500-C | 7 х 0,75 мм² | Bca or Cca
49 | N2XH-J | 10 х 1,5 мм² | Bca or Cca
50 | N2XH-J | 14 х 1,5 мм² | Bca or Cca
51 | N2XH-J | 3 х 2.5 мм² | Bca or Cca
52 | N2XH-J | 5 х 2,5 мм² | Bca or Cca
53 | N2XH-J | 7 х 1,5 мм² | Bca or Cca
54 | NHXH-FE | 10 х 1,5мм² | Bca or Cca
55 | NHXH-FE | 6 х 1,5мм² | Bca or Cca
56 | NYY-FR | 4 х 1.5мм² | Bca or Cca
57 | OLFLEX CLASSIC 110 | 7 х 1,5 mm² | Bca or Cca
58 | OLFLEX CLASSIC 110 | 10 х 0,75 мм² | Bca or Cca
59 | OLFLEX CLASSIC 110 | 12 х 0,75 мм² | Bca or Cca
60 | OLFLEX CLASSIC 110 | 15 х 0,75 мм² | Bca or Cca
61 | OLFLEX CLASSIC 110 | 34 х 0,75 мм² | Bca or Cca
62 | OLFLEX CLASSIC 110 | 34 х 1,5мм² | Bca or Cca
63 | Olflex Classic 115 CY | 12 х 0,5 мм² | Bca or Cca
64 | OLFLEX HEAT 180 SIHF | 4 х 1,0 мм² | Bca or Cca
65 | OLFLEX HEAT 180 SIHF | 7 х 1,5мм² | Bca or Cca
66 | OPVC-JZ | 12 х 0,75 мм² | Bca or Cca
67 | OPVC-OZ | 10 х 0,75 мм² | Bca or Cca
68 | OPVC-OZ | 14 х 0,75 мм² | Bca or Cca
69 | OPVC-OZ | 16 х 0,75 мм² | Bca or Cca
70 | OPVC-OZ | 18 х 0,75 мм² | Bca or Cca
71 | OPVC-OZ-CY | 4х0,75 мм² | Bca or Cca
72 | YCY- FR | 10 х 0,75 мм² | Bca or Cca
73 | YCY- FR | 7 х 0,75 мм² | Bca or Cca
74 | YCY-FR | 34 х 0,75 мм² | Bca or Cca
75 | СВВн/А | 3х2.5 mm² | Bca or Cca
76 | СВВн/А | 7х1.5 mm² | Bca or Cca
77 | СВТ-с | 10х1.5мм² | Bca or Cca
78 | СВТ-с | 7х1.5мм² | Bca or Cca
79 | ТПП | 100 х 2 x 0,5 мм² | Bca or Cca
80 | ТПП | 20 х 2 x 0,5 мм² | Bca or Cca
81 | ТСВ/А/В | 10 х 2 x 0,5 мм² | Bca or Cca
82 | ТСВ/А/В | 2 х 2 x 0,5 мм² | Bca or Cca
83 | JC5XFOE-V /sto/o/-/ | 14x0.35 mm² | Bca or Cca
84 | JC5XFOE-V /sto/o/-/ | 19x0.35 mm² | Bca or Cca
85 | JC5XFOE-V /sto/o/-/ | 27x0.35 mm² | Bca or Cca
86 | JC5XFOE-V /sto/o/-/ | 7x0.35 mm² | Bca or Cca
87 | JC5XFOE-V /sto/o/-/ | 10x0.35 mm² | Bca or Cca
88 | 1-CHKFE-V (J) /o/-/ | 3x2.5 mm² | Bca or Cca
89 | 1-CXKFE-V/LOCA /o/-/ | 19x1.5 mm² | Bca or Cca
90 | JC5XFOE-V/LOCA /st/o/-/ | 2x2x0.35 mm² | Bca or Cca
91 | JC5XFOE-V/LOCA /o/-/ | 2x2x0.5 mm² | Bca or Cca
92 | JC5XFOE-V/LOCA /st/o/-/ | 4x2x0.35 mm² | Bca or Cca
93 | 1-C5XFOE-V/LOCA /sto/o/-/ | 4x2.5 mm² | Bca or Cca
94 | 1-C5XFOE-V/LOCA /sto/o/-/ | 4x1.5 mm² | Bca or Cca
95 | TRONIC-CY (LiY-CY) | 12x0.75 мм² | Bca or Cca
96 | TRONIC-CY (LiY-CY) | 7x0.75 мм² | Bca or Cca
97 | TRONIC-CY (LiY-CY) | 12x1.5 мм² | Bca or Cca
98 | HSLCH 300/500V | 5x0.75 мм² | Bca or Cca
99 | HSLCH 300/500V | 7x0.75 мм² | Bca or Cca
100 | HSLCH 300/500V | 10x0.75 мм² | Bca or Cca
101 | HSLCH 300/500V | 12x0.75 мм² | Bca or Cca
102 | HSLCH 300/500V | 25x0.75 мм² | Bca or Cca
103 | HSLCH 300/500V | 28x0.75 мм² | Bca or Cca