|  | K O Z L O D U Y N P P E A D |
| --- | --- |
|  | Kozloduy 3321, Bulgaria, Tel.: +359 973 7 35 30, Fax: +359 973 7 60 27 |

INFORMATION NOTICE

Referring to Market consultation No. 49653 within the meaning of Article 44 of the PPA for the submission of indicative offers on the ‘Supply of cables with insulation of reaction to fire performance class Bca or Cca, as per Standard EN 50575, Power, Control and Communication Cables. Cables for General Applications in Construction Works Subject to Reaction to Fire Performance Requirements, in compliance with EN50399; EN60332; EN61034 and EN60754”, we provide you with the following information:

QUESTION: Regarding cable type NHXCH-FE  0,6/1 kV (product No. 106-119) - What is the required circuit integrity E30 or E90?

ANSWER:  The required circuit integrity is E90.

https://kznpp.org/bg/pazarni-konsultatsii/5852

Further information may be obtained from Petranka Popnikolova, Marketing Expert, Tel.: +359 973 7 24 86, e-mail: papopnikolova@npp.bg.