APPENDIX 1

TECHNICAL SPECIFICATION (TABULAR TYPE)

for the supply of spare parts for: LumaSense SmartDGAR 1GP-10-01 gas analyzer type

| Not | Name | Units | Quantity |
| --- | --- | --- | --- |
| 1. | SmartDGA Guide - sensor unit for gas analysis (analyzer), mounting kit for connection to the valves of the transformer. | Pcs. | 2 |
| 2. | EZHub - a control unit providing power and communication with the analyzer, as well as storage and transmission of data for processing. The corresponding connecting cables are a part of the supply. | Pcs. | 2 |